| Orrganisation Name Fire Risk Assessment (FRA) Checklist |
| --- |
| Assessed by: |  | Date Document Downloaded: |  |
| Job Title: |  | Date of Assessment: |  |
| Department/Location: |  | Duty Holder Name: |  |

| FRA Ref No. | Description | Yes/No | Comments | Action Required | FHRA No. |
| --- | --- | --- | --- | --- | --- |
| 1. MANAGEMENT, PLANNING & PROCEDURES |
| 1.1 | Do you have an up-to-date Fire Safety Policy? | Yes No N/A |  |  |  |
| 1.2 | Have you established and documented your procedures in the event of a fire or fire drill/practice? | Yes No N/A |  |  |  |
| 1.3 | Are fire safety risk assessments and resultant fire safety action plans reviewed regularly? | Yes No N/A |  |  |  |
| 1.4 | Are fire safety drills/practices carried out regularly? | Yes No N/A |  |  |  |
| 1.5 | Are fire safety drills/practices reviewed for successes and failures, and subsequent action taken? | Yes No N/A |  |  |  |
| 1.6 | Are any findings from risk assessment and fire drills/practices reported to your staff or their representatives? | Yes No N/A |  |  |  |
| 1.7 | If you share the workplace with others do you inform them of the risks you have identified? | Yes No N/A |  |  |  |
| 1.8 | If you do not have direct control of the premises have you made your findings known to the landlord, owner or agent? | Yes No N/A |  |  |  |
| 1.9 | Has an emergency plan been drawn up in case of a major fire? | Yes No N/A |  |  |  |
| 1.10 | Has an assembly point been identified and informed to staff? | Yes No N/A |  |  |  |
| 1.11 | Do you have sufficient Fire Marshals, and are they properly trained (and such training recorded)? | Yes No N/A |  |  |  |
| 1.12 | Has provision been made for contacting the emergency service both during and out of working hours? | Yes No N/A |  |  |  |
| 1.13 |  | Yes No N/A |  |  |  |
| 1.14 |  | Yes No N/A |  |  |  |
| 2. STAFF AWARENESS AND TRAINING |
| 2.1 | Are all new employees informed of and provided with the company’s Fire Safety Policy and Procedures? (See Induction Feedback Form) | Yes No N/A |  |  |  |
| 2.2 | Are any staff provided with fire fighting training and, if so, is this properly recorded? | Yes No N/A |  |  |  |
| 2.3 | Are all staff informed of and trained following risk assessment and related significant findings? | Yes No N/A |  |  |  |
| 2.4 | Are all staff aware of the fire prevention measures as detailed in sections 8 to 12 of this checklist? | Yes No N/A |  |  |  |
| 2.5 | Are all fire routes and exits in the premises known to staff? | Yes No N/A |  |  |  |
| 2.6 | Have all staff been informed of the location of the fire extinguishers [and other fire fighting equipment]? | Yes No N/A |  |  |  |
| 2.7 | Is the assembly point(s) in the event of fire known to all staff? | Yes No N/A |  |  |  |
| 2.8 |  | Yes No N/A |  |  |  |
| 2.9 |  | Yes No N/A |  |  |  |
| 3. VISITORS, CONTRACTORS & DISABLED |
| 3.1 | Have provisions been made to inform visitors/contractors of the location of the fire safety assembly point(s)? | Yes No N/A |  |  |  |
| 3.2 | Are visitors/contractors informed as to the procedures on discovering a fire or hearing the fire alarm? | Yes No N/A |  |  |  |
| 3.3 | Are controls in place in respect of contractors’ use of potentially hazardous equipment? E.g. blowlamps, cutting and welding equipment. | Yes No N/A |  |  |  |
| 3.4 | Has provision been made for the safe evacuation of visiting disabled persons? | Yes No N/A |  |  |  |
| 3.5 | Do escape routes provide adequately for the needs of the disabled? See Section 4 below. | Yes No N/A |  |  |  |
| 3.6 | Have staff been instructed on know to assist visitors, the disabled [and members of the public] in evacuation of the workplace? | Yes No N/A |  |  |  |
| 3.7 | Are Contractors asked to complete Hot Work Permits? | Yes No N/A |  |  |  |
| 3.8 |  | Yes No N/A |  |  |  |
| 3.9 |  | Yes No N/A |  |  |  |
| 4. FIRE EXITS, ESCAPE ROUTES & EMERGENCY LIGHTING |
| 4.1 | Are there sufficient exits of suitable width for the people likely to be present? | Yes No N/A | If only one exit is available complete 4.5 below. If more than 1 exit complete 4.6 below. |  |  |
| 4.2 | Is this escape route fire resistant (protected)? | Yes No N/A | <<If no, recommend you install an automatic fire-detection system>> |  |  |
| 4.3 | Are escape routes clearly signed? | Yes No N/A |  |  |  |
| 4.4 | What is the level of risk in (this part of) the premises of a fire starting or spreading quickly? | High Med Low |  |  |  |
| 4.5 | What distance do people need to go to reach the exit? (single exit) | 12m 18m 25m | <<12, 18 and 25m are required respectively for high, normal/medium and low risk areas>> |  |  |
| 4.6 | What distance do people need to go to reach the exit? (more than one exit) | 25m 45m 60m | <<25, 45 and 60m are required respectively for high, normal/medium and low risk areas>> |  |  |
| 4.7 | Are all exits/routes clearly indicated by the “Green Running Man” on a white background, together with an arrow pointing in the direction of escape? (“Final Exit” signs do not require an accompanying arrow) | Yes No N/A |  |  |  |
| 4.8 | Are all fire exit routes and the points of exit (inc. stairways and corridors) from the building clear of obstructions? | Yes No N/A |  |  |  |
| 4.9 | Are all floor surfaces and stairs on escape routes free from tripping and slipping hazards? | Yes No N/A |  |  |  |
| 4.10 | Are all fire-resisting self-closing doors on escape routes correctly labeled, closing fully, in good state of repair and not wedged open? | Yes No N/A |  |  |  |
| 4.11 | Are escape routes adequately lit and is all lighting (normal and where provided emergency) on escape routes fully operational? | Yes No N/A | <<Emergency lighting is required in underground and windowless parts of premises, in core stairways or those serving storeys more than 30 m above ground level, internal corridors more than 30m and in open plan office areas of more than 60m²>> |  |  |
| 4.12 | Is the emergency lighting tested regularly and the tests recorded? | Yes No N/A |  |  |  |
| 4.13 | Do all exits lead to a place of safety? | Yes No N/A |  |  |  |
| 4.14 | Are steps and stairs in a good state of repair? | Yes No N/A |  |  |  |
| 4.15 | Does the workforce know not to use lifts in the event of a fire? | Yes No N/A |  |  |  |
| 4.16 | Are “Fire Action” notices clearly displayed throughout the premises? | Yes No N/A |  |  |  |
| 4.18 |  | Yes No N/A |  |  |  |
| 4.19 |  | Yes No N/A |  |  |  |
| 5. FIRE DOORS, EXIT DOORS & COMPARTMENTATION |
| 5.1 | Are final exit routes always unlocked when the premises are in use? | Yes No N/A |  |  |  |
| 5.2 | Are devices securing final exits capable of being opened immediately and easily without a key? | Yes No N/A | <<ideal fastening for fire exit door is bar across the width of the door that releases the lock/latch>> |  |  |
| 5.3 | Are internal doors labeled as such and normally kept closed? | Yes No N/A |  |  |  |
| 5.4 | Are self-closers on fire doors operating correctly? | Yes No N/A |  |  |  |
| 5.5 | Do the doors on escape routes open in the direction of travel? | Yes No N/A | <<must do so if more than 50 people may be required to escape from the relevant area, or leads from a high risk area>> |  |  |
| 5.6 | Have other measures been taken to ensure that smoke and flames cannot spread from one part of the premises to another part? | Yes No N/A | <<spaces between ducting and services through holes in fire walls should be filled with fire resistant stopping>> |  |  |
| 5.7 |  | Yes No N/A |  |  |  |
| 5.8 |  | Yes No N/A |  |  |  |
| 6. FIRE FIGHTING EQUIPMENT |
| 6.1 | Do you have sufficient fire-fighting appliances throughout your premises? | Yes No N/A | <<e.g. a 9 litre water extinguisher will be required for every 200m² of floor area for Class A fires -combustible solids - paper, wood, cloth & plastics + 1 per floor |  |  |
| 6.2 | Are your fire extinguishers and blankets positioned properly and located near to sites of higher fire risk? | Yes No N/A | <<e.g mounted on walls and within 30m of a potential fire>> |  |  |
| 6.3 | Are portable extinguishers of the correct type for the fire risk and properly colour coded? | Yes No N/A | <<e.g. powder for electrical and liquid (not metals): foam for liquid (not electrical or metal): water for wood, paper & textiles (not liquid, electrical or metal) |  |  |
| 6.4 | Are all fire-fighting appliances certified for quality? And is the last date of inspection displayed on the extinguisher? | Yes No N/A |  |  |  |
| 6.5 | Are all fire extinguishers, hose reels and sprinkler systems etc. regularly tested by competent persons [and the results recorded]? | Yes No N/A | See maintenance and Testing of Fire Equipment Guidance Notes |  |  |
| 6.6 | Have employees been instructed on when to use equipment? | Yes No N/A |  |  |  |
| 6.7 | Has every member of staff been trained in the correct use of fire fighting equipment? | Yes No N/A |  |  |  |
| 6.8 |  | Yes No N/A |  |  |  |
| 6.9 |  | Yes No N/A |  |  |  |
| 7. FIRE ALARM SYSTEMS |
| 7.1 | Do the premises require an electrical or automatic fire alarm? | Yes No N/A | <<depends on size and nature of workplace and number of employees: manual system for small open offices, electrical system where a shouted warning or bell cannot be heard by everyone: and automatic systems where a fire might start & grow undetected>> |  |  |
| 7.2 | Can the alarm be heard throughout the premises? | Yes No N/A |  |  |  |
| 7.3 | Is the fire alarm system tested regularly and in good working order, and tests recorded? | Yes No N/A | See Maintenance and Testing of Fire Equipment Guidance Notes |  |  |
| 7.4 | Is the fire alarm maintained on a regular basis? | Yes No N/A |  |  |  |
| 7.5 | Can the fire alarm be raised without placing anyone in danger? | Yes No N/A |  |  |  |
| 7.7 | Are the fire alarm points clearly visible and unobstructed? | Yes No N/A |  |  |  |
| 7.8 | Is the fire alarm connected to a monitoring station that contacts the fire brigade? | Yes No N/A |  |  |  |
| 7.9 | Have all members of staff been trained in how to operate the fire alarm system(s)? | Yes No N/A |  |  |  |
| 7.10 |  | Yes No N/A |  |  |  |
| 7.11 |  | Yes No N/A |  |  |  |
| 8. FIRE PREVENTION: NEATNESS, TIDINESS & HEATERS |
| 8.1 | Have all employees been instructed to keep their workplace(s) tidy? | Yes No N/A |  |  |  |
| 8.2 | Is there a waste control system, and is it working effectively to keep the workplace clear of combustible waste and rubbish? | Yes No N/A |  |  |  |
| 8.3 | Is waste put in a safe, secure place awaiting collection? | Yes No N/A |  |  |  |
| 8.4 | Is burning of rubbish on the site prohibited? | Yes No N/A |  |  |  |
| 8.5 | Are production areas kept clear of dust and rubbish? | Yes No N/A |  |  |  |
| 8.6 | Is there a system for controlling the amounts of combustible materials, flammable liquids and gases in the workplace? | Yes No N/A | <<only such quatities as required for the day's production should be taken from storage>> |  |  |
| 8.7 | Are all ducts, pipes, beams and trusses and kept clean? | Yes No N/A |  |  |  |
| 8.8 | Are all areas outside the premises kept clear of waste and combustible material? | Yes No N/A |  |  |  |
| 8.9 | Is the upholstery of furniture in good condition? | Yes No N/A |  |  |  |
| 8.10 | Are all heaters fitted with suitable guards and fixed in position away from combustible materials? | Yes No N/A |  |  |  |
| 8.11 |  | Yes No N/A |  |  |  |
| 8.12 |  | Yes No N/A |  |  |  |
| 9. FIRE PREVENTION: STORAGE & FLAMMABLES |
| 9.1 | Are flammable products used on the premises? | Yes No N/A |  |  |  |
| 9.2 | If so, are they kept away from potential sources of ignition? | Yes No N/A |  |  |  |
| 9.3 | Is sufficient storage available for combustible materials and flammable liquids and gases? | Yes No N/A | <<small quantities should be kept in flameproof metal cabinents. Large quantities in a dedicated flameproof store>> |  |  |
| 9.4 | Are the quantities of flammable products used in the workplace kept to a minimum and, when not needed, returned to safe storage? | Yes No N/A |  |  |  |
| 9.5 | Are the storage areas secure and with proper signs and restricted access? No smoking should be on all stores. | Yes No N/A | <<e.g. Flammable Liquid>> |  |  |
| 9.6 | Do fire-resistant walls and doors provide storage areas? | Yes No N/A |  |  |  |
| 9.7 | Are adequate gangways provided between shelving and stacks of stored material? | Yes No N/A |  |  |  |
| 9.8 | Are sprinkler heads and fire detectors free from obstruction from stacks and shelves? | Yes No N/A |  |  |  |
| 9.9 | Are stacks and shelves clear of light fittings and hot service pipes? | Yes No N/A |  |  |  |
| 9.10 |  | Yes No N/A |  |  |  |
| 9.11 |  | Yes No N/A |  |  |  |
| 10. FIRE PREVENTION: ELECTRICAL INSTALLATION & EQUIPMENT |
| 10.1 | Within last 5 years has the electrical installation been subject to an insulation test by a qualified electrician in accordance with IEE Regulations? | Yes No N/A |  |  |  |
| 10.2 | Are all items of electrical equipment working properly, inspected regularly and fitted with correctly rated fuses? | Yes No N/A |  |  |  |
| 10.3 | Is the use of electrical extension leads and multipoint adaptors kept to a minimum? | Yes No N/A |  |  |  |
| 10.4 | Are cables and leads run in safe places to prevent tripping hazards and damage to the cables and leads? | Yes No N/A |  |  |  |
| 10.5 | Are isolators and mains electricity switches clearly signed? | Yes No N/A |  |  |  |
| 10.6 |  | Yes No N/A |  |  |  |
| 10.7 |  | Yes No N/A |  |  |  |
| 11. FIRE PREVENTION: SMOKING |
| 11.1 | Have all enclosed and partially enclosed smoking facilities been removed? | Yes No N/A |  |  |  |
| 11.2 | Are all company vehicles (those used by more than one person) now smoke free? | Yes No N/A |  |  |  |
| 11.3 | Are no-smoking signs displayed in a prominent position at every public entrance with a minimum size of A5 (210mm by 148mm) in area with the international no-smoking symbol and the words ”No Smoking: It is against the law to smoke in these premises”? | Yes No N/A |  |  |  |
| 11.4 | In workplaces only used by members of staff, or workplaces that are part of larger smoke free premises, are no-smoking signs of at least 70mm in diameter displayed consisting of the international no-smoking symbol? | Yes No N/A |  |  |  |
| 11.5 | Do company vehicles (used by more than one person and not used primarily for private use) display the international symbol as described in 11.4? | Yes No N/A |  |  |  |
| 11.6 | Does the company maintain an up-to-date No-Smoking Policy? | Yes No N/A |  |  |  |
| 11.7 |  | Yes No N/A |  |  |  |
| 11.8 |  | Yes No N/A |  |  |  |
| 12. FIRE PREVENTION: ARSON |
| 12.1 | Have suitable measures been taken to secure building against intruders? | Yes No N/A |  |  |  |
| 12.2 | Are all doors and windows locked when the premises are unlocked? | Yes No N/A |  |  |  |
| 12.3 | Are all visitors to the building signed in, provided with badges and accompanied by their host or staff at all times? | Yes No N/A |  |  |  |
| 12.4 | Are all members of staff trained to challenge or report suspicious persons and behaviour? | Yes No N/A |  |  |  |
| 12.5 |  | Yes No N/A |  |  |  |
| 12.6 |  | Yes No N/A |  |  |  |
| 13. BUSINESS CONTINUITY |
| 13.1 | Are duplicate copies of contingency plans, records, back-up discs and documents kept safely in another building or on a different server? | Yes No N/A |  |  |  |
| 13.3 | Are the insurance policies up-to-date and adequate to cover all requirements? | Yes No N/A |  |  |  |
| 13.4 |  | Yes No N/A |  |  |  |
| Assessor Name: Signature: Date: |  | Duty Holder Name: Signature: Date: |  |